Arne Nielsen A/S

Site survey form – heating of large buildings

Infrared heating from Schwank – gas and electric

Fill in the form on site at the customer's premises – it takes 15–20 minutes with a tape measure and a phone. Send the completed form to us by email together with photos and any drawings. You will then receive a sized proposal with layout and bill of materials.

Send to: info@arnenielsen.dk  ·  Fields that are not known can be skipped.

1. Customer and project

| Company |  |
| --- | --- |
| Address (building location) |  |
| Contact person and email |  |
| Installer / consultant |  |
| Desired start |  |
| Date of survey |  |

2. The building

| Length × width (m) |  |
| --- | --- |
| Height to eaves / ridge (m) |  |
| Desired mounting height (m) |  |
| Roof structure | ☐ Steel ☐ Timber ☐ Concrete ☐ Other: ______ |
| Can the roof carry suspended loads? | ☐ Yes ☐ No ☐ Don't know |
| Year of construction |  |
| Insulation | ☐ Good ☐ Average ☐ Poor U-values (if known): ______ |
| Floor | ☐ Concrete ☐ Other: ______ |

Doors

| Door no. | Width × height (m) | Location (wall) | How often open? |
| --- | --- | --- | --- |

| Obstructions at ceiling level | ☐ Overhead crane ☐ Lighting ☐ Ventilation ☐ Sprinklers ☐ Other: ______ |
| --- | --- |

3. Use

| What is the building used for? |  |
| --- | --- |
| Working hours (days and hours per week) |  |
| Where do people stand and work? |  |

Desired temperature per zone

| Zone | Area (m²) / location | Desired temp. (°C) | Note (e.g. frost protection only) |
| --- | --- | --- | --- |

4. Energy

| Gas available | ☐ Natural gas on site ☐ Natural gas in the street ☐ LPG ☐ No gas |
| --- | --- |
| Electricity (supply, if known) |  |
| Current heat source | ☐ Oil ☐ Gas ☐ Electric ☐ Heat pump ☐ None ☐ Other: ______ |
| Approx. annual consumption |  |
| Flue possible through | ☐ Roof ☐ Wall ☐ Don't know |

5. Requirements

| Budget (if known) |  |
| --- | --- |
| Cooling needed in summer? | ☐ Yes ☐ No |
| Other requirements or comments |  |

6. Attachments – please include

☐ Photos of the interior: ceiling, doors and walls

☐ Drawing or hand sketch with dimensions (feel free to use the last page)

☐ Building records, if available

Good to know Gas-fired infrared heating is best suited to buildings with a ceiling height of approx. 4 m or more and access to gas. If the building is lower, or there is no gas, electric infrared heating (eSchwank) or a heat pump may be the right answer – we will assess this based on the form. The system is sized by the manufacturer's technical department, and the gas-fired radiant heaters are certified under the EU Gas Appliances Regulation (EU) 2016/426.

Sketch of the building – dimensions, doors, zones and desired heater positions